## Blank
PV Solar Site
Inspection Checklist
Site Name:
System Designation: |  |  | Type of Inspection:
Inspection Date: |  |  | Commissioned Date:
| Walk the Array - visually checking for the following: |  |  | Check | Note | Resolved | Photo
1 | Broken, burnt or delaminated modules
2 | Shading or excessive soiling of the modules
3 | Proper grounding of non-current carrying metal parts
4 | PV Source wiring connectors, conductors, conduit and supports
5 | Racking and ballast systems for loose or missing parts
6 | Rodent, bird or insect infestation problems
7 | Roof damage in and around the roof mount array
8 | Erosion in and around the ground mount array
8 | Corrosion or damage to the Combiner Box enclosure
9 | Required NEC Code labeling is installed on the Combiner Box
10 | Corrosion or overheating at Combiner Box terminations
11 | Damage to the Combiner Box conductor insulation
12 | Damage to PV Output conductors, raceways and supports
13 | Proper grounding and weather sealing of PV Output Raceways
14 | Damage to PV Output conductors at accessible locations
15 | Damage to the perimeter fence, gate and cameras
Visual inspect the Disconnecting Means for the following:
16 | Corrosion or damage to the enclosure
16 | Corrosion or overheating at the terminations
17 | Signs of damage to the conductor insulation
18 | Signs of corrosion and damage to the enclosure
19 | Required NEC Code labeling is installed on the enclosure
Additional Inspections
20 | Perform inverter inspection and complete the checklist
21 | Run String Tests and complete test report
22 | Thermal Scan field terminations and re-torque as needed
23 | Thermal Scan Disconnecting Means and complete report
24 | Megger Test the DC Array and complete the report
25 | Perform any manufacturer warranty required inspections
26 | Confirm monitoring data for accuracy.
| Reporting | [5 empty] | Check
28 | Inform manufacturers and client of all deficiencies and recommendations.
29 | Provide an inspection report to the client within thirty days of the inspection
See notes on back page
PV Solar Site
Inspection Checklist
1 | General site conditions:
2 | Array Inspection notes:
3 | Thermal Scan notes:
4 | Inverter Inspection notes:
5 | Megger Test notes:
6 | Additional notes:
Solar Tech:
Annual
Array
Semi-annual
|  | Thomas Golder |  |  |  | Yes | Done
|  | Robert Moore |  |  |  | No | Issue
|  | William Woods |  |  |  | Watch | N/A
Dick Crafts